## Sheet1
Step 1: Calculate the total energy requirement of this small nation
| Population | Peak demand per person (kW) | Total demand requirement (kW) | Total Demand requirement (MW)
| 1000000 | 0.78 | 780000 | 780
Step 2: Calculate the cost per available MW for each Technology Type
Note that the total demand must be met by available MW
| Technology | Availability | Total Power (MW) | Available Power (MW) | Total Cost | Cost per Available MW | Ranking (by cost/MW)
| Biomass | 90% | 50 | 45 | 100000000 | 2222222.2222 | 11
| Cogeneration | 90% | 400 | 360 | 400000000 | 1111111.1111 | 13
| Coal life extension | 90% | 600 | 540 | 400000000 | 740740.7407 | 14
| Waste Burning (can sustain up to 4 plants) | 80% | 5 | 4 | 10000000 | 2500000 | 8
| Geothermal | 90% | 100 | 90 | 600000000 | 6666666.6667 | 4
| Nuclear | 90% | 1000 | 900 | 1200000000 | 1333333.3333 | 12
| Large Scale Solar (data per array) | 40% | 1 | 0.4 | 2000000 | 5000000 | 5
| Concetrated Solar (data per array) | 40% | 1 | 0.4 | 3000000 | 7500000 | 3
| Conventional Solar (Rooftop; data per array) | 20% | 0.5 | 0.1 | 500000 | 5000000 | 5
| Wave Power (data per device) | 50% | 1 | 0.5 | 5000000 | 10000000 | 2
| Hydro (per dam - 3 potential sites available) | 80% | 50 | 40 | 100000000 | 2500000 | 8
| Small Scale Onshore Wind (data per turbine) | 20% | 0.05 | 0.01 | 250000 | 25000000 | 1
| Large Scale Onshore Wind (data per turbine) | 40% | 3 | 1.2 | 3000000 | 2500000 | 10
| Offshore Wind (data per turbine) | 50% | 3 | 1.5 | 4000000 | 2666666.6667 | 7
Step 3 - Prepare a Suitable Energy Mix
| Restrictions |  |  |  | Your Proposal
| Technology | Limit (Total MW) | Availability % | Available Limits (Limit x Availability) (MW) | Potential Energy Mix (Available MW) | Cost per Available MW (per Step 2) | Cost of Potential Mix (Avble. MW x £/Avble. MW)
| Biomass | 200 | 90% | 45
| Cogeneration | 400 | 90% | 360
| Coal life extension | 600 | 90% | 540
| Waste Burning | 10 | 80% | 4
| Geothermal | 100 | 90% | 90
| Nuclear | 1000 | 90% | 900
| Large Scale Solar | 50 | 40% | 0.4
| Concetrated Solar | 50 | 40% | 0.4
| Conventional Solar (Rooftop) | 20 | 20% | 0.1
| Wave Power | 200 | 50% | 0.5
| Hydro (Dams) | 100 | 80% | 40
| Small Scale Onshore Wind | 150 | 20% | 0.01
| Large Scale Onshore Wind | 150 | 40% | 1.2
| Offshore Wind | 100 | 50% | 1.5
|  |  |  | Total MW |  | Total Cost